## projects
project_id | utility | state | project_name | name_a | lat_a | lon_a | name_b | lat_b | lon_b | lat_center | lon_center | in_service_date | overlap_count | overlap_1 | overlap_2 | overlap_3 | confidence | sponsor | source_id | status | total_cost_usd | geo_notes
DESC_1 | Dominion Energy South Carolina | SC | Queensboro - Ft Johnson 115 kV & Queensboro-Bayfront 115kV (Queensboro-James Island Sect) | Queensboro |  |  | Ft Johnson |  |  |  |  | 2023-12-31 | 0 |  |  |  | none |  | 6807 B | In Progress | 5404301 | no end point could be located
DESC_2 | Dominion Energy South Carolina | SC | Union Pier 115-13.8 kV Sub: Tap | Union Substation | 34.7239 | -81.6588 |  |  |  | 34.7239 | -81.6588 | 2027-12-31 | 0 |  |  |  | medium |  | 0167C-D | Planned | 5300000
DESC_3 | Dominion Energy South Carolina | SC | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Okatie (unlabelled 115/230 kV substation, 1.9 mi from town) | 32.27 | -80.9354 |  |  |  | 32.27 | -80.9354 | 2024-12-31 | 10 | GPC_96 | GPC_12 | GPC_97 | medium |  | 0139 M,N | In Progress | 11116933
DESC_4 | Dominion Energy South Carolina | SC | Cainhoy - Hamlin 115kV: Rebuild Line and Cainhoy - Hamlin 115 kV #2: Construct New 115 kV Line | Cainhoy Substation | 32.9414 | -79.8423 | Hamlin Substation | 32.8599 | -79.7884 | 32.9007 | -79.8154 | 2025-12-01 | 0 |  |  |  | high |  | 6341 A-F | In Progress | 19890850
DESC_5 | Dominion Energy South Carolina | SC | Eastover - Square D 115kV: Rebuild | Sylvamo Eastover Facility Cogeneration | 33.8865 | -80.6404 | Square D |  |  | 33.8865 | -80.6404 | 2024-06-01 | 0 |  |  |  | medium |  | 6808 J | In Progress | 11700000 | only one end point located; centre = that point
DESC_6 | Dominion Energy South Carolina | SC | Burton-St Helena 115kV: Rebuild Burton-Frogmore Transmission Section | Burton Substation | 32.4365 | -80.721 | St Helena (unlabelled 115 kV substation, 1.0 mi from town) | 32.3991 | -80.5711 | 32.4178 | -80.6461 | 2024-12-31 | 0 |  |  |  | medium |  | 6808 K | In Progress | 8580000
DESC_7 | Dominion Energy South Carolina | SC | Burton-St Helena 115kV: Frogmore Distribution - St Helena | Burton Substation | 32.4365 | -80.721 | St Helena (unlabelled 115 kV substation, 1.0 mi from town) | 32.3991 | -80.5711 | 32.4178 | -80.6461 | 2025-12-31 | 0 |  |  |  | medium |  | 6808 L | In Progress | 6925000
DESC_8 | Dominion Energy South Carolina | SC | VCS1-Denny Terrace 230kV & VCS1-Pineland 230kV: Rebuild Single Circuit Sections | VCS1 |  |  | Denny Terrace Substation | 34.0576 | -81.0616 | 34.0576 | -81.0616 | 2026-12-31 | 0 |  |  |  | medium |  | 6808 N,O | In Progress | 4912096 | only one end point located; centre = that point
DESC_9 | Dominion Energy South Carolina | SC | Wateree-Killian 230kV: Rebuild | Wateree Station | 33.8213 | -80.6284 | Killian (unlabelled 230 kV substation, 1.3 mi from town) | 34.1223 | -80.9441 | 33.9718 | -80.7862 | 2028-12-31 | 0 |  |  |  | medium |  | 6808 R | In Progress | 48224719
DESC_10 | Dominion Energy South Carolina | SC | Okatie-Bluffton 115kV: Rebuild | Okatie (unlabelled 115 kV substation, 1.9 mi from town) | 32.27 | -80.9354 | Bluffton Substation | 32.235 | -80.8534 | 32.2525 | -80.8944 | 2025-06-01 | 10 | GPC_96 | GPC_29 | GPC_97 | medium |  | 6808 S | In Progress | 40660000
DESC_11 | Dominion Energy South Carolina | SC | Hopkins-CIP 230kV: Rebuild | Hopkins (unlabelled 230 kV substation, 2.7 mi from town) | 33.8887 | -80.9208 | CIP |  |  | 33.8887 | -80.9208 | 2025-12-31 | 0 |  |  |  | medium |  | 6808 U | Planned | 2600000 | only one end point located; centre = that point
DESC_12 | Dominion Energy South Carolina | SC | Faber Place-Bayfront 115kV: Rebuild North Bridge Terrace to Bayfront Section | Faber Place Substation | 32.8501 | -80.0146 | Bayfront (unlabelled 115 kV substation, 0.3 mi from town) | 32.7391 | -79.9663 | 32.7946 | -79.9905 | 2028-12-31 | 0 |  |  |  | medium |  | 6808 V | Planned | 10200000
DESC_13 | Dominion Energy South Carolina | SC | Square D - Hopkins 115kV: Rebuild | Square D |  |  | Hopkins (unlabelled 115 kV substation, 2.2 mi from town) | 33.8832 | -80.8491 | 33.8832 | -80.8491 | 2024-09-30 | 0 |  |  |  | medium |  | 6808 W | In Progress | 4300000 | only one end point located; centre = that point
DESC_14 | Dominion Energy South Carolina | SC | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | Stevens Creek Power Plant | 33.5626 | -82.0514 | Hooks (unlabelled 46/115 kV substation, 2.9 mi from town) |  |  | 33.5626 | -82.0514 | 2024-12-31 | 5 | GPC_193 | GPC_194 | GPC_45 | medium |  | 6809 E | In Progress | 11745543 | only one end point located; centre = that point
DESC_15 | Dominion Energy South Carolina | SC | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | Stevens Creek Power Plant | 33.5626 | -82.0514 | Hooks (unlabelled 46/115 kV substation, 2.9 mi from town) |  |  | 33.5626 | -82.0514 | 2025-12-31 | 5 | GPC_193 | GPC_194 | GPC_45 | medium |  | 6809 G | Planned | 7800000 | only one end point located; centre = that point
DESC_16 | Dominion Energy South Carolina | SC | Edenwood Sub: #1 & #2 230-115kV Autobanks, Replace with 336MVA | Edenwood (unlabelled 115/230 kV substation, 0.7 mi from town) | 33.9589 | -81.0501 |  |  |  | 33.9589 | -81.0501 | 2024-12-25 | 0 |  |  |  | medium |  | 6805 G | In Progress | 10833462
DESC_17 | Dominion Energy South Carolina | SC | Williams St Sub: Replace Sw House & Relays, AM Williams Sub: Replace Sw House, and McMeekin Sub: Add Sw House | Williams Station | 33.0168 | -79.9285 |  |  |  | 33.0168 | -79.9285 | 2028-12-31 | 0 |  |  |  | medium |  | 1060A, I, L | In Progress | 9898924
DESC_18 | Dominion Energy South Carolina | SC | Harleyville 115KV Transmission Tap - Construct (1.4 miles) | Harleyville Substation | 33.2099 | -80.4512 |  |  |  | 33.2099 | -80.4512 | 2027-03-31 | 0 |  |  |  | high |  | 06005 B | Planned | 2750000
DESC_19 | Dominion Energy South Carolina | SC | Summerville: Replace and Spare 230-115kV 336MVA Auto Bank | Summerville Wastewater Treatment Substation | 32.9874 | -80.2208 |  |  |  | 32.9874 | -80.2208 | 2024-12-31 | 0 |  |  |  | medium |  | 05004 P | In Progress | 3982052
DESC_20 | Dominion Energy South Carolina | SC | Canadys-Ritter 115KV-Rebld SPDC 230/115KV 1272 (Approx 18 Miles) | Canadys Substation | 33.0641 | -80.6206 | Ritter (unlabelled 115/230 kV substation, 2.4 mi from town) | 32.8232 | -80.6206 | 32.9436 | -80.6206 | 2026-06-01 | 0 |  |  |  | medium |  | 06076A | In Progress | 40000000
DESC_21 | Dominion Energy South Carolina | SC | Yemassee- Ritter 230kV #1 & #2: Construct SPDC with B-1272 | Yemassee Substation | 32.6974 | -80.8638 | Ritter (unlabelled 230 kV substation, 2.4 mi from town) | 32.8232 | -80.6206 | 32.7603 | -80.7422 | 2026-06-01 | 0 |  |  |  | medium |  | 6359 | Planned | 40611419
DESC_22 | Dominion Energy South Carolina | SC | Riverport Tap: Construct Tap | Riverport | [7 empty] | 2025-12-31 | 0 |  |  |  | none |  | 06367 A - C, H | In Progress | 34877427 | no end point could be located
DESC_23 | Dominion Energy South Carolina | SC | Jasper - Okatie 230 kV #2: Construct | Jasper Generating Plant | 32.3591 | -81.1246 | Okatie (unlabelled 230 kV substation, 5.8 mi from town) | 32.3338 | -81.0326 | 32.3464 | -81.0786 | 2025-12-31 | 11 | GPC_12 | GPC_97 | GPC_96 | medium |  | 06367 D - G | In Progress | 23787423
DESC_24 | Dominion Energy South Carolina | SC | Wagener 115kV Tap: Construct Tap | Wagener Substation | 33.6501 | -81.3606 |  |  |  | 33.6501 | -81.3606 | 2025-12-31 | 0 |  |  |  | high |  | 06371 D | Planned | 6005000
DESC_25 | Dominion Energy South Carolina | SC | Church Creek - Ritter 230kV - Replace 38 Large Angles and Dead Ends | Church Creek Substation | 32.8303 | -80.0703 | Ritter (unlabelled 230 kV substation, 2.4 mi from town) | 32.8232 | -80.6206 | 32.8268 | -80.3455 | 2024-06-01 | 0 |  |  |  | medium |  | 06372 A | In Progress | 10850000
DESC_26 | Dominion Energy South Carolina | SC | VCS2-Ward 230kV: Rebuild Line | VCS2 |  |  | Ward Substation | 33.8722 | -81.6977 | 33.8722 | -81.6977 | 2029-12-31 | 0 |  |  |  | medium |  | 06810 F | Planned | 30000000 | only one end point located; centre = that point
DESC_27 | Dominion Energy South Carolina | SC | Goose Creek Reservoir: Rebuild Transmission Line Crossings | Goose Creek Reservoir (unlabelled kV substation, 1.3 mi from town) | 32.9559 | -80.0477 |  |  |  | 32.9559 | -80.0477 | 2024-12-31 | 0 |  |  |  | medium |  | 06810 G | In Progress | 9655669
DESC_28 | Dominion Energy South Carolina | SC | Summerville 115kV Loop: Rebuild | Summerville Wastewater Treatment Substation | 32.9874 | -80.2208 |  |  |  | 32.9874 | -80.2208 | 2024-12-31 | 0 |  |  |  | medium |  | 06810 H | In Progress | 12475000
DESC_29 | Dominion Energy South Carolina | SC | St George - Sumter 230kV Tie: Rebuild Line from Santee Substation - Duke/Progress Energy Tie | Saint George Switching Station | 33.1994 | -80.592 | Sumter Substation | 33.8977 | -80.324 | 33.5485 | -80.458 | 2025-12-31 | 0 |  |  |  | high |  | 6809 M | Planned | 4000000
DESC_30 | Dominion Energy South Carolina | SC | Coit - Gills Creek 115kV: Construct | Coit |  |  | Gills Creek (unlabelled 115 kV substation, 1.9 mi from town) | 33.9432 | -80.9841 | 33.9432 | -80.9841 | 2024-12-31 | 0 |  |  |  | medium |  | 5392 A-C | In Progress | 2509602 | only one end point located; centre = that point
DESC_31 | Dominion Energy South Carolina | SC | Hooks - Thurmond 115kV Tie: Rebuild | Hooks (unlabelled 115 kV substation, 2.9 mi from town) |  |  | Thurmond Substation | 33.6601 | -82.1959 | 33.6601 | -82.1959 | 2024-12-31 | 5 | GPC_193 | GPC_194 | GPC_208 | medium |  | 6810 A | In Progress | 2200080 | only one end point located; centre = that point
DESC_32 | Dominion Energy South Carolina | SC | Batesburg - Saluda County 115kV: Rebuild | Batesburg Substation | 33.9135 | -81.5644 | Saluda Substation | 33.9973 | -81.7662 | 33.9554 | -81.6653 | 2025-12-31 | 0 |  |  |  | medium |  | 6809 N | In Progress | 8750000
DESC_33 | Dominion Energy South Carolina | SC | Scout 230 kV Sub and Fold-in: Construct | Scout (unlabelled 230 kV substation, 5.5 mi from town) | 32.4365 | -80.721 |  |  |  | 32.4365 | -80.721 | 2026-03-31 | 0 |  |  |  | low |  | 6853 B-F | In Progress | 23685000 | place-level match only (town centre, not the substation)
DESC_34 | Dominion Energy South Carolina | SC | Dawson 230kV Sub and Fold-in: Construct and Rebuild | Dawson | 33.2268 | -79.6553 |  |  |  | 33.2268 | -79.6553 | 2025-10-01 | 0 |  |  |  | low |  | 6859 | In Progress | 93538207 | place-level match only (town centre, not the substation)
DESC_35 | Dominion Energy South Carolina | SC | Urquhart - Toolebeck 115kV line: Rebuild | Urquhart Station | 33.4334 | -81.9092 | Toolebeck Substation | 33.5346 | -81.6693 | 33.484 | -81.7893 | 2026-08-12 | 4 | GPC_45 | GPC_165 | GPC_193 | high |  | 6852 | In Progress | 17520000
DESC_36 | Dominion Energy South Carolina | SC | Williams-Summerville 230kV: Upgrade to SPDC B1272 ACSR | Williams Station | 33.0168 | -79.9285 | Summerville Wastewater Treatment Substation | 32.9874 | -80.2208 | 33.0021 | -80.0747 | 2027-05-01 | 0 |  |  |  | medium |  | 6388 A | Planned | 19300000
DESC_37 | Dominion Energy South Carolina | SC | Cainhoy 115 kV Tap: Construct | Cainhoy Substation | 32.9414 | -79.8423 |  |  |  | 32.9414 | -79.8423 | 2027-12-31 | 0 |  |  |  | high |  | 0147 C, K | Planned | 21850000
DESC_38 | Dominion Energy South Carolina | SC | Jack Primus 115 kV Tap: Construct | Jack Primus Substation | 32.9194 | -79.9045 |  |  |  | 32.9194 | -79.9045 | 2027-12-31 | 0 |  |  |  | high |  | 0147 B, J | Planned | 18000000
DESC_39 | Dominion Energy South Carolina | SC | Church Creek - Faber Place - Charleston Transmission: Add 230kV Line | Church Creek Substation | 32.8303 | -80.0703 | Charleston Transmission |  |  | 32.8303 | -80.0703 | 2027-05-01 | 0 |  |  |  | medium |  | 6847 A-B, D-H | In Progress | 34174682 | only one end point located; centre = that point
DESC_40 | Dominion Energy South Carolina | SC | Eastover - Sumter 115kV DEP Tie: Rebuild with 1272 ACSR | Sylvamo Eastover Facility Cogeneration | 33.8865 | -80.6404 | Sumter Substation | 33.8977 | -80.324 | 33.8921 | -80.4822 | 2026-05-31 | 0 |  |  |  | medium |  | 6846 A | Planned | 1100000
DESC_41 | Dominion Energy South Carolina | SC | Cameron Jct - Elloree 46 kV Rebuild | Cameron Substation | 33.5637 | -80.709 | Elloree Substation | 33.5324 | -80.5797 | 33.548 | -80.6444 | 2026-12-31 | 0 |  |  |  | medium |  | 6810 U | Planned | 4500000
DESC_42 | Dominion Energy South Carolina | SC | Elloree - Santee City 46 kV: Rebuild | Elloree Substation | 33.5324 | -80.5797 | Santee Substation | 33.4234 | -80.1253 | 33.4779 | -80.3525 | 2027-12-31 | 0 |  |  |  | medium |  | 6810 J | Planned | 4500000
DESC_43 | Dominion Energy South Carolina | SC | Urquhart - Aiken PSA 46 kV: Rebuild | Urquhart Station | 33.4334 | -81.9092 | Aiken PSA |  |  | 33.4334 | -81.9092 | 2027-12-31 | 5 | GPC_45 | GPC_165 | GPC_193 | medium |  | 6810 O | Planned | 3000000 | only one end point located; centre = that point
DESC_44 | Dominion Energy South Carolina | SC | Cameron Jct - Cameron - St Matthews 46 kV Rebuild | Cameron Substation | 33.5637 | -80.709 | St Matthews (unlabelled 46 kV substation, 0.4 mi from town) | 33.6674 | -80.7712 | 33.6155 | -80.7401 | 2028-12-31 | 0 |  |  |  | medium |  | 6810 T | Planned | 5900000
GPC_1 | Georgia Power | GA | THALMANN AND COLERAIN 23O KV LINE RELAY PANEL UPGRADES | Thalmann Substation | 31.2935 | -81.6808 |  |  |  | 31.2935 | -81.6808 | 2025-06-01 | 0 |  |  |  | high | GPC | 21046
GPC_2 | Georgia Power | GA | ANTHONY SHOALS STATCOM SYSTEM | Anthony Shoals Substation | 34.0018 | -82.6363 |  |  |  | 34.0018 | -82.6363 | 2025-12-31 | 0 |  |  |  | high | GPC | 20326
GPC_3 | Georgia Power | GA | SAV: LITTLE OGEECHEE 230-115KV: RELAY MODERNIZATION | Little Ogeechee Substation | 32.0068 | -81.2532 |  |  |  | 32.0068 | -81.2532 | 2025-12-31 | 0 |  |  |  | high | SAV | 17075
GPC_4 | Georgia Power | GA | EAST POINT RELAY MODERNIZATION | East Point Primary Substation | 33.6763 | -84.463 |  |  |  | 33.6763 | -84.463 | 2026-06-01 | 0 |  |  |  | high | GPC | 20491
GPC_5 | Georgia Power | GA | GRADY 230/115KV RELAY MODERNIZATION | GRADY (unlabelled 115/230 kV substation, 1.5 mi from town) | 30.8775 | -84.2109 |  |  |  | 30.8775 | -84.2109 | 2026-06-01 | 0 |  |  |  | none | GPC | 20474 |  |  | rejected: match is 190 mi from where zone 206 projects sit (likely a same-named place);
GPC_6 | Georgia Power | GA | KLONDIKE RELAY MODERNIZATION | Klondike Substation | 33.637 | -84.1245 |  |  |  | 33.637 | -84.1245 | 2026-06-01 | 0 |  |  |  | high | GPC | 20490
GPC_7 | Georgia Power | GA | MORROW 115KV RELAY UPGRADE | Morrow Substation | 33.6059 | -84.3335 |  |  |  | 33.6059 | -84.3335 | 2026-06-01 | 0 |  |  |  | high | GPC | 20300
GPC_8 | Georgia Power | GA | SCOTTDALE RELAY MODERNIZATION | SCOTTDALE (unlabelled kV substation, 0.4 mi from town) | 33.791 | -84.2717 |  |  |  | 33.791 | -84.2717 | 2026-06-01 | 0 |  |  |  | medium | GPC | 20489
GPC_9 | Georgia Power | GA | DRESDEN LINE PROTECTIVE RELAYING | Dresden Substation | 33.3511 | -84.906 |  |  |  | 33.3511 | -84.906 | 2026-12-01 | 0 |  |  |  | high | GPC | 20668
GPC_11 | Georgia Power | GA | OHARA BREAKER REPLACEMENT | OHARA | [7 empty] | 2026-10-01 | 0 |  |  |  | none | GPC | 21022 |  |  | no end point could be located
GPC_12 | Georgia Power | GA | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | McIntosh Substation | 32.3521 | -81.1751 | PURRYSBURG |  |  | 32.3521 | -81.1751 | 2026-06-01 | 3 | DESC_23 | DESC_3 | DESC_10 | medium | SAV | 20277 |  |  | only one end point located; centre = that point
GPC_15 | Georgia Power | GA | SAV: CC - HYUNDAI MOTORS SAVANNAH AKA. PROJECT EA | Hyundai Motors Substation | 32.1666 | -81.4609 |  |  |  | 32.1666 | -81.4609 | 2025-04-25 | 0 |  |  |  | medium | SAV | 19523
GPC_17 | Georgia Power | GA | MITCHELL - NORTH TIFTON 230KV RECONDUCTOR | Mitchell Substation (230kV) | 31.4471 | -84.1338 | North Tifton Substation (500kV) | 31.4781 | -83.5491 | 31.4626 | -83.8415 | 2025-05-01 | 0 |  |  |  | high | GPC | 18492
GPC_18 | Georgia Power | GA | ADAMSVILLE - JACK MCDONOUGH 230KV LINE REBUILD | ADAMSVILLE (unlabelled 230 kV substation, 0.8 mi from town) | 33.7492 | -84.4985 | JACK MCDONOUGH |  |  | 33.7492 | -84.4985 | 2025-06-01 | 0 |  |  |  | medium | GPC | 19676 |  |  | only one end point located; centre = that point
GPC_19 | Georgia Power | GA | ECHECONNEE-WELLSTON 115KV REBUILD | ECHECONNEE (unlabelled 115 kV substation, 0.8 mi from town) | 32.676 | -83.708 | WELLSTON (unlabelled 115 kV substation, 1.0 mi from town) | 32.6228 | -83.5897 | 32.6494 | -83.6488 | 2025-06-01 | 0 |  |  |  | medium | GPC | 18800
GPC_20 | Georgia Power | GA | GRID - BREMEN - CROOKED CREEK (APC) 115 KV PROJECT | Bremen Primary Substation | 33.7092 | -85.1427 | CROOKED CREEK |  |  | 33.7092 | -85.1427 | 2025-06-01 | 0 |  |  |  | medium | GPC | 19187 |  |  | only one end point located; centre = that point
GPC_24 | Georgia Power | GA | JESUP - LUDOWICI PRIMARY 115KV REBUILD | Jesup Substation | 31.6031 | -81.9249 | Ludowici Primary Substation | 31.7216 | -81.7437 | 31.6624 | -81.8343 | 2025-06-01 | 0 |  |  |  | high | GPC | 11821
GPC_27 | Georgia Power | GA | NORCROSS 230KV BUS 1-3 SERIES BUS TIE BREAKER INSTALLATION | Norcross Substation | 33.9326 | -84.2134 |  |  |  | 33.9326 | -84.2134 | 2025-06-01 | 0 |  |  |  | high | GPC | 20464
GPC_28 | Georgia Power | GA | PINE GROVE PRIMARY 115 KV DUAL STAGE CAPACITOR BANK | Pine Grove Primary Substation | 30.8816 | -83.228 |  |  |  | 30.8816 | -83.228 | 2025-06-01 | 0 |  |  |  | high | GPC | 19631
GPC_29 | Georgia Power | GA | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | Deptford Substation | 32.0668 | -81.0484 | Magnolia Substation | 32.0227 | -81.0862 | 32.0448 | -81.0673 | 2025-06-01 | 3 | DESC_3 | DESC_10 | DESC_23 | high | SAV | 20067
GPC_30 | Georgia Power | GA | SMART VALVE INSTALLATION | SMART VALVE | [7 empty] | 2025-06-01 | 0 |  |  |  | none | GPC | 20466 |  |  | no end point could be located
GPC_31 | Georgia Power | GA | VILLA RICA LOW SIDE BREAKER | Villa Rica Substation | 33.741 | -84.8549 |  |  |  | 33.741 | -84.8549 | 2025-06-01 | 0 |  |  |  | medium | GPC | 20431
GPC_32 | Georgia Power | GA | CAMDEN INDUSTRIAL PARK (GPC) | CAMDEN INDUSTRIAL PARK | [7 empty] | 2025-06-30 | 0 |  |  |  | none | GPC | 20684 |  |  | no end point could be located
GPC_34 | Georgia Power | GA | JEFFERSON STREET#3 - NORTHWEST (WHITE) 115 KV RECONDUCTOR | Jefferson Substation | 34.1182 | -83.5696 | NORTHWEST |  |  | 34.1182 | -83.5696 | 2025-12-01 | 0 |  |  |  | medium | GPC | 18889 |  |  | only one end point located; centre = that point
GPC_35 | Georgia Power | GA | CC - CASS PINE- HILL VIEW 230 KV LINE- CC IMPROVEMENTS | CASS PINE |  |  | HILL VIEW |  |  |  |  | 2025-12-31 | 0 |  |  |  | none | GPC | 20152 |  |  | no end point could be located
GPC_36 | Georgia Power | GA | CC - PROJECT CHRONOS- SK/HYUNDAI | PROJECT CHRONOS |  |  | SK/HYUNDAI |  |  |  |  | 2025-12-31 | 0 |  |  |  | none | GPC | 20175 |  |  | no end point could be located
GPC_39 | Georgia Power | GA | CC - QTS FAYETTEVILLE TRANSMISSION NEEDS | QTS Substation #1 | 33.7803 | -84.421 |  |  |  | 33.7803 | -84.421 | 2026-04-01 | 0 |  |  |  | medium | GPC | 20018
GPC_40 | Georgia Power | GA | ADAMSVILLE - BUZZARD ROOST 230KV REBUILD AND JUMPER UPGRADE | ADAMSVILLE (unlabelled 230 kV substation, 0.8 mi from town) | 33.7492 | -84.4985 | BUZZARD ROOST | 32.9671 | -84.5366 | 33.3581 | -84.5175 | 2026-06-01 | 0 |  |  |  | medium | GPC | 19597
GPC_41 | Georgia Power | GA | BLANKETS CREEK - WOODSTOCK 115KV LINE REBUILD | Blankets Creek Substation | 34.1858 | -84.508 | Woodstock Substation | 34.0853 | -84.5135 | 34.1355 | -84.5107 | 2026-06-01 | 0 |  |  |  | high | GPC | 18960
GPC_42 | Georgia Power | GA | CC - GARRETT ROAD SWITCHING STATION - TRAE LANE | GARRETT ROAD | [7 empty] | 2026-06-01 | 0 |  |  |  | none | GPC | 20243 |  |  | no end point could be located
GPC_43 | Georgia Power | GA | CC - STONEWALL TELL ROAD (TA REALTY) | STONEWALL TELL ROAD | [7 empty] | 2026-06-01 | 0 |  |  |  | none | GPC | 20216 |  |  | no end point could be located
GPC_45 | Georgia Power | GA | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | Fenwick St (Augusta GA, street-level) | 33.4718 | -81.9754 | East Augusta Jct (near Sand Bar Ferry Rd, Augusta GA) | 33.4602 | -81.936 | 33.466 | -81.9557 | 2026-06-01 | 5 | DESC_43 | DESC_14 | DESC_15 | low | GPC | 16007 |  |  | place-level match only (town centre, not the substation) ¦ verified: Project name pairs Fenwick St with Sand Bar Ferry; the two street points are ~2.3 mi apart, consistent with the 2.72 mi in the PDF description
GPC_46 | Georgia Power | GA | GOAT ROCK 230KV SWITCH, JUMPER, & LINE TRAP REPLACEMENT | Goat Rock Dam | 32.6096 | -85.0806 |  |  |  | 32.6096 | -85.0806 | 2026-06-01 | 0 |  |  |  | medium | GPC | 20516
GPC_47 | Georgia Power | GA | GORDON-N DUBLIN 115KV (GORDON-ENGL MCI J) REBUILD | Gordon Substation | 32.8825 | -83.3169 | Dublin Primary Substation | 32.5406 | -82.8945 | 32.7115 | -83.1057 | 2026-06-01 | 0 |  |  |  | medium | GPC | 19618
GPC_48 | Georgia Power | GA | GRADY - MORROW (WHITE) 115KV REBUILD | GRADY (unlabelled 115 kV substation, 1.5 mi from town) |  |  | Morrow Substation | 33.6059 | -84.3335 | 33.6059 | -84.3335 | 2026-06-01 | 0 |  |  |  | medium | GPC | 21139 |  |  | only one end point located; centre = that point
GPC_49 | Georgia Power | GA | GRID - GAINESVILLE #2 EQUIPMENT REPLACEMENT | Gainesville Substation #2 | 34.263 | -83.8097 |  |  |  | 34.263 | -83.8097 | 2026-06-01 | 0 |  |  |  | medium | GPC | 19706
GPC_55 | Georgia Power | GA | HAMMOND - WEISS DAM 115KV LINE REBUILD | HAMMOND (unlabelled 115 kV substation, 3.0 mi from town) | 33.9636 | -84.3438 | WEISS DAM |  |  | 33.9636 | -84.3438 | 2026-06-01 | 0 |  |  |  | medium | GPC | 19636 |  |  | only one end point located; centre = that point
GPC_56 | Georgia Power | GA | KATHLEEN AREA IMPROVEMENTS | KATHLEEN (unlabelled kV substation, 0.8 mi from town) | 32.4851 | -83.6027 |  |  |  | 32.4851 | -83.6027 | 2026-06-01 | 0 |  |  |  | medium | GPC | 20512
GPC_60 | Georgia Power | GA | PALMYRA REACTOR REMOVAL | PALMYRA (unlabelled kV substation, 1.1 mi from town) | 31.6351 | -84.2127 |  |  |  | 31.6351 | -84.2127 | 2026-06-01 | 0 |  |  |  | medium | GPC | 18690
GPC_61 | Georgia Power | GA | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | Boulevard Substation | 32.0412 | -81.1445 | Deptford Substation | 32.0668 | -81.0484 | 32.054 | -81.0964 | 2026-06-01 | 3 | DESC_3 | DESC_10 | DESC_23 | high | SAV | 20066
GPC_62 | Georgia Power | GA | SAV: CC - BIG OGEECHEE 500/230KV (CC NETWORK IMPROVEMENTS) | Big Ogeechee (new sub near Little Ogeechee Sub) | 32.0068 | -81.2532 |  |  |  | 32.0068 | -81.2532 | 2026-06-01 | 0 |  |  |  | low | SAV | 19966 |  |  | place-level match only (town centre, not the substation) ¦ verified: PDF description: 'Construct a new substation near Little Ogeechee, adjacent to the 500kV and 230kV shared right of way'. Coordinates = OSM Little Ogeechee Substation (Georgia Power)
GPC_63 | Georgia Power | GA | UNION CITY - YATES 230 KV WHITE LINE REBUILD | Union Substation | 33.5532 | -84.5091 | Plant Yates | 33.4576 | -84.897 | 33.5054 | -84.703 | 2026-06-01 | 0 |  |  |  | medium | GPC | 17900
GPC_64 | Georgia Power | GA | UNION CITY - YATES 230KV (WHITE) SWITCH AND TRAP REPLACEMENT | Union Substation | 33.5532 | -84.5091 | Plant Yates | 33.4576 | -84.897 | 33.5054 | -84.703 | 2026-06-01 | 0 |  |  |  | medium | GPC | 20691
GPC_65 | Georgia Power | GA | CC - PROJECT PAYTON BAINBRIDGE | Bainbridge Substation | 30.9126 | -84.567 |  |  |  | 30.9126 | -84.567 | 2026-06-30 | 0 |  |  |  | medium | GPC | 20223
GPC_69 | Georgia Power | GA | CC - CASS PINE 230/25 NEW SUB - QCELLS - CC IMPROVEMENTS | CASS PINE 230/25 | [7 empty] | 2026-12-31 | 0 |  |  |  | none | GPC | 20151 |  |  | no end point could be located
GPC_70 | Georgia Power | GA | GRADY-WEST END 115KV REBUILD | GRADY (unlabelled 115 kV substation, 1.5 mi from town) | 30.8775 | -84.2109 | WEST END (unlabelled 115 kV substation, 1.1 mi from town) | 33.7423 | -84.4089 | 32.3099 | -84.3099 | 2026-12-31 | 0 |  |  |  | low | GPC | 19287 |  |  | end points 198 mi apart - probable name mismatch
GPC_71 | Georgia Power | GA | MORROW - MOUNTAIN VIEW 115 KV REBUILD | Morrow Substation | 33.6059 | -84.3335 | MOUNTAIN VIEW (unlabelled 115 kV substation, 0.5 mi from town) | 33.6376 | -84.3971 | 33.6218 | -84.3653 | 2026-12-31 | 0 |  |  |  | medium | GPC | 19363
GPC_72 | Georgia Power | GA | CC - EMBLEM RIVERSIDE CUSTOMER SUB (FLEXENTIAL) | Riverside Substation | 32.0846 | -81.097 |  |  |  | 32.0846 | -81.097 | 2027-03-01 | 0 |  |  |  | none | GPC | 20509 |  |  | rejected: match is 234 mi from where zone 201 projects sit (likely a same-named place);
GPC_74 | Georgia Power | GA | MORROW - YATES COMMON 115KV LINE UPGRADE | Morrow Substation | 33.6059 | -84.3335 | Yates Common Substation | 33.4616 | -84.9042 | 33.5338 | -84.6188 | 2027-05-01 | 0 |  |  |  | high | GPC | 19601
GPC_75 | Georgia Power | GA | POSSUM BRANCH - YATES COMMON 115KV REBUILD (YATES TO CLEM) | POSSUM BRANCH (unlabelled 115 kV substation, 0.6 mi from town) |  |  | Yates Common Substation | 33.4616 | -84.9042 | 33.4616 | -84.9042 | 2027-05-01 | 0 |  |  |  | medium | GPC | 15879 |  |  | only one end point located; centre = that point
GPC_76 | Georgia Power | GA | CC - GULLATT ROAD TRANSMISSION IMPROVEMENTS | GULLATT ROAD TRANSMISSION IMPROVEMENTS | [7 empty] | 2027-06-01 | 0 |  |  |  | none | GPC | 20771 |  |  | no end point could be located
GPC_77 | Georgia Power | GA | CC - MICROSOFT - SHUGART (CCO06) | MICROSOFT (unlabelled kV substation, 0.1 mi from town) | 33.6431 | -84.5166 | SHUGART |  |  | 33.6431 | -84.5166 | 2027-06-01 | 0 |  |  |  | medium | GPC | 18736 |  |  | only one end point located; centre = that point
GPC_78 | Georgia Power | GA | CC - SUMMER LAKE - VILLA RICA 230KV REBUILD (CC IMPROVEMENT) | SUMMER LAKE |  |  | Villa Rica Substation | 33.741 | -84.8549 | 33.741 | -84.8549 | 2027-06-01 | 0 |  |  |  | medium | GPC | 20781 |  |  | only one end point located; centre = that point
GPC_79 | Georgia Power | GA | CC - TA REALTY ELLENWOOD NETWORK IMPROVEMENTS | Ellenwood Substation | 33.6086 | -84.3021 |  |  |  | 33.6086 | -84.3021 | 2027-06-01 | 0 |  |  |  | medium | GPC | 20736
GPC_80 | Georgia Power | GA | DOYLE - LG&E MONROE 230KV - JACKS CREEK LOOP IN | Doyle Substation | 33.8379 | -83.6988 | Monroe #2 Substation | 33.7936 | -83.7168 | 33.8157 | -83.7078 | 2027-06-01 | 0 |  |  |  | medium | GPC | 20234
GPC_91 | Georgia Power | GA | JESUP - OFFERMAN 115KV REBUILD | Jesup Substation | 31.6031 | -81.9249 | Offerman Substation | 31.4231 | -82.1437 | 31.5131 | -82.0343 | 2027-06-01 | 0 |  |  |  | high | GPC | 18668
GPC_92 | Georgia Power | GA | LAWRENCEVILLE - WINDER 115KV LINE REBUILD | Lawrenceville Substation #1 | 33.9446 | -83.9557 | Winder Substation | 34.0235 | -83.7578 | 33.984 | -83.8567 | 2027-06-01 | 0 |  |  |  | high | GPC | 10143
GPC_93 | Georgia Power | GA | LAWRENCEVILLE - WINDER PRIMARY 230KV LINE REBUILD | Lawrenceville Substation #1 | 33.9446 | -83.9557 | Winder Substation | 34.0235 | -83.7578 | 33.984 | -83.8567 | 2027-06-01 | 0 |  |  |  | high | GPC | 10481
GPC_95 | Georgia Power | GA | SANDERSVILLE #1 - WADLEY PRI. 115KV REBUILD/RECONDUCTOR | Sandersville Substation #1 | 32.9985 | -82.8019 | Wadley Substation | 32.8847 | -82.4159 | 32.9416 | -82.6089 | 2027-06-01 | 0 |  |  |  | high | GPC | 19248
GPC_96 | Georgia Power | GA | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | Goshen Substation | 32.2487 | -81.2095 | Kraft Substation | 32.1481 | -81.146 | 32.1984 | -81.1777 | 2027-06-01 | 3 | DESC_23 | DESC_3 | DESC_10 | high | SAV | 20785
GPC_97 | Georgia Power | GA | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | Goshen Substation | 32.2487 | -81.2095 | McIntosh Substation | 32.3521 | -81.1751 | 32.3004 | -81.1923 | 2027-06-01 | 3 | DESC_23 | DESC_3 | DESC_10 | high | SAV | 20065
GPC_98 | Georgia Power | GA | CC - TOMOCHICHI 500/230KV SOLUTION (CC NETWORK IMPROVEMENTS) | TOMOCHICHI (unlabelled 230/500 kV substation, 4.0 mi from town) | 32.0412 | -81.1445 |  |  |  | 32.0412 | -81.1445 | 2027-07-15 | 0 |  |  |  | none | GPC | 20717 |  |  | rejected: match is 221 mi from where zone 208 projects sit (likely a same-named place); place-level match only (town centre, not the substation)
GPC_99 | Georgia Power | GA | GRID - ARKWRIGHT - LLOYD SHOALS 115KV | ARKWRIGHT (unlabelled 115 kV substation, 0.5 mi from town) | 32.9272 | -83.6989 | Lloyd Shoals Dam | 33.3208 | -83.8418 | 33.124 | -83.7704 | 2027-07-30 | 0 |  |  |  | medium | GPC | 18573
GPC_101 | Georgia Power | GA | ATHENA - EAST WATKINSVILLE 115 KV (REBUILD) | Athena Substation | 33.9764 | -83.3461 | East Watkinsville Substation | 33.8605 | -83.3848 | 33.9185 | -83.3654 | 2027-12-31 | 0 |  |  |  | high | GPC | 17977
GPC_102 | Georgia Power | GA | CC - HILL VIEW & GRASSY HOLLOW SUB - CC IMPROVEMENTS | HILL VIEW | [7 empty] | 2027-12-31 | 0 |  |  |  | none | GPC | 20150 |  |  | no end point could be located
GPC_103 | Georgia Power | GA | DYER ROAD - EAST ROANOKE 115KV (REBUILD) | DYER ROAD |  |  | Roanoke Substation | 33.1687 | -85.3852 | 33.1687 | -85.3852 | 2027-12-31 | 0 |  |  |  | low | GPC | 20024 |  |  | only one end point located; centre = that point; centre is 9 mi outside GA - probable wrong-place match
GPC_104 | Georgia Power | GA | AULTMAN ROAD-PERRY 115KV LINE REBUILD | Altman Road Substation | 32.5634 | -83.74 | Perry Primary Substation | 32.4554 | -83.702 | 32.5094 | -83.721 | 2028-06-01 | 0 |  |  |  | high | GPC | 19997
GPC_105 | Georgia Power | GA | CC - EAST VILLA RICA AREA SWITCHING STATION (CC IMPROVEMENT) | West Villa Rica Substation | 33.7418 | -84.9596 |  |  |  | 33.7418 | -84.9596 | 2028-06-01 | 0 |  |  |  | high | GPC | 20797
GPC_106 | Georgia Power | GA | CC - VILLA RICA UPGRADES (CC NETWORK IMPROVEMENTS) | Villa Rica Substation | 33.741 | -84.8549 |  |  |  | 33.741 | -84.8549 | 2028-06-01 | 0 |  |  |  | medium | GPC | 20774
GPC_107 | Georgia Power | GA | FITZGERALD - PITTS 115 KV LINE REBUILD | Fitzgerald Substation | 31.7293 | -83.2924 | PITTS (unlabelled 115 kV substation, 3.2 mi from town) | 31.9866 | -83.5628 | 31.858 | -83.4276 | 2028-06-01 | 0 |  |  |  | medium | GPC | 21048
GPC_112 | Georgia Power | GA | JACK MCDONOUGH - NORTHWEST (BLACK) 230KV RECONDUCTOR | JACK MCDONOUGH |  |  | NORTHWEST |  |  |  |  | 2028-06-01 | 0 |  |  |  | none | GPC | 20777 |  |  | no end point could be located
GPC_115 | Georgia Power | GA | PITTMAN ROAD - WEST POINT DAM (USA) 115KV REBUILD | PITTMAN ROAD |  |  | West Point Dam Substation | 32.9186 | -85.1904 | 32.9186 | -85.1904 | 2028-06-01 | 0 |  |  |  | medium | GPC | 20482 |  |  | only one end point located; centre = that point
GPC_116 | Georgia Power | GA | PLANT YATES BREAKER AND HALF STATION | Plant Yates | 33.4576 | -84.897 |  |  |  | 33.4576 | -84.897 | 2028-06-01 | 0 |  |  |  | high | GPC | 20656
GPC_117 | Georgia Power | GA | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | Coleman Substation | 32.0973 | -81.1161 | Dean Forest Substation | 32.0835 | -81.1887 | 32.0904 | -81.1524 | 2028-06-01 | 3 | DESC_3 | DESC_23 | DESC_10 | high | SAV | 20783
GPC_118 | Georgia Power | GA | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | Magnolia Substation | 32.0227 | -81.0862 | TRUMAN PARKWAY |  |  | 32.0227 | -81.0862 | 2028-06-01 | 3 | DESC_3 | DESC_10 | DESC_23 | medium | SAV | 20407 |  |  | only one end point located; centre = that point
GPC_119 | Georgia Power | GA | SMART VALVES AT EAST VILLA RICA SWITCHING STATION | Villa Rica Substation | 33.741 | -84.8549 |  |  |  | 33.741 | -84.8549 | 2028-06-01 | 0 |  |  |  | medium | GPC | 21069
GPC_120 | Georgia Power | GA | SOUTH MACON 115KV BUSES 1 & 2 REPLACEMENT | South Macon Substation | 32.8203 | -83.6262 |  |  |  | 32.8203 | -83.6262 | 2028-06-01 | 0 |  |  |  | high | GPC | 20768
GPC_121 | Georgia Power | GA | UNION CITY - YATES 230KV (BLACK) LINE REBUILD | Union Substation | 33.5532 | -84.5091 | Plant Yates | 33.4576 | -84.897 | 33.5054 | -84.703 | 2028-06-01 | 0 |  |  |  | medium | GPC | 20274
GPC_122 | Georgia Power | GA | FIRST AVENUE - NORTH COLUMBUS 115KV LINE REBUILD | FIRST AVENUE |  |  | NORTH COLUMBUS |  |  |  |  | 2028-12-01 | 0 |  |  |  | none | GPC | 13166 |  |  | no end point could be located
GPC_124 | Georgia Power | GA | ASHLEY PARK-WANSLEY 500KV | ASHLEY PARK | 33.3908 | -84.7644 | Wansley Substation | 33.411 | -85.0308 | 33.4009 | -84.8976 | 2029-06-01 | 0 |  |  |  | medium | GPC | 21062
GPC_125 | Georgia Power | GA | BLAKELY PRIMARY - HUCKLEBERRY 115KV REBUILD | Blakely Primary Substation | 31.3716 | -84.906 | HUCKLEBERRY |  |  | 31.3716 | -84.906 | 2029-06-01 | 0 |  |  |  | medium | GPC | 10222 |  |  | only one end point located; centre = that point
GPC_126 | Georgia Power | GA | BROADWAY - ECHECONNEE 115 KV LINE REBUILD | BROADWAY |  |  | ECHECONNEE (unlabelled 115 kV substation, 0.8 mi from town) | 32.676 | -83.708 | 32.676 | -83.708 | 2029-06-01 | 0 |  |  |  | medium | GPC | 21047 |  |  | only one end point located; centre = that point
GPC_127 | Georgia Power | GA | BUTLER - THOMASTON 230KV LINE CONVERSION | Butler Primary Substation | 32.571 | -84.2897 | Thomaston #3 Substation | 32.9466 | -84.2665 | 32.7588 | -84.2781 | 2029-06-01 | 0 |  |  |  | high | GPC | 16887
GPC_128 | Georgia Power | GA | BUZZARD ROOST - FACTORY SHOALS 230KV NEW LINE | BUZZARD ROOST | 32.9671 | -84.5366 | FACTORY SHOALS |  |  | 32.9671 | -84.5366 | 2029-06-01 | 0 |  |  |  | low | GPC | 21036 |  |  | place-level match only (town centre, not the substation); only one end point located; centre = that point
GPC_129 | Georgia Power | GA | CONYERS - KLONDIKE 230 KV SECOND LINE | CONYERS (unlabelled 230 kV substation, 2.5 mi from town) | 33.6977 | -84.0428 | Klondike Substation | 33.637 | -84.1245 | 33.6673 | -84.0836 | 2029-06-01 | 0 |  |  |  | medium | GPC | 21142
GPC_130 | Georgia Power | GA | GLENWOOD SPRINGS - PORTERDALE PRIMARY 230KV LINE SWITCH REPL | Glenwood Substation | 32.1857 | -82.6668 | PORTERDALE PRIMARY |  |  | 32.1857 | -82.6668 | 2029-06-01 | 0 |  |  |  | none | GPC | 21138 |  |  | rejected: match is 126 mi from where zone 206 projects sit (likely a same-named place); only one end point located; centre = that point
GPC_138 | Georgia Power | GA | LLOYD SHOALS - PORTERDALE PRIMARY 115KV REBUILD | Lloyd Shoals Dam | 33.3208 | -83.8418 | PORTERDALE PRIMARY |  |  | 33.3208 | -83.8418 | 2029-06-01 | 0 |  |  |  | medium | GPC | 21141 |  |  | only one end point located; centre = that point
GPC_139 | Georgia Power | GA | LOWER RIVER - WEBB (APC) 115KV RECONDUCTOR | LOWER RIVER (unlabelled 115 kV substation, 3.2 mi from town) |  |  | Webb Substation | 31.2553 | -85.313 | 31.2553 | -85.313 | 2029-06-01 | 0 |  |  |  | low | GPC | 20285 |  |  | only one end point located; centre = that point; centre is 12 mi outside GA - probable wrong-place match
GPC_140 | Georgia Power | GA | MCEVER ROAD - SHOAL CREEK 115KV REBUILD | McEver Road Substation | 34.2729 | -83.8738 | SHOAL CREEK (unlabelled 115 kV substation, 2.7 mi from town) | 33.847 | -83.6993 | 34.06 | -83.7865 | 2029-06-01 | 0 |  |  |  | medium | GPC | 19621
GPC_141 | Georgia Power | GA | MCMANUS - WEST BRUNSWICK 115KV REBUILD | Plant McManus | 31.2159 | -81.5441 | West Brunswick Substation | 31.2799 | -81.5587 | 31.2479 | -81.5514 | 2029-06-01 | 0 |  |  |  | high | GPC | 20346
GPC_144 | Georgia Power | GA | NORCROSS - NORTH DRUID HILLS 115KV REBUILD | Norcross Substation | 33.9326 | -84.2134 | NORTH DRUID HILLS (unlabelled 115 kV substation, 2.0 mi from town) | 33.7913 | -84.3181 | 33.8619 | -84.2658 | 2029-06-01 | 0 |  |  |  | medium | GPC | 20757
GPC_145 | Georgia Power | GA | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | Boulevard Substation | 32.0412 | -81.1445 | Magnolia Substation | 32.0227 | -81.0862 | 32.032 | -81.1153 | 2029-06-01 | 3 | DESC_3 | DESC_10 | DESC_23 | high | SAV | 21006
GPC_146 | Georgia Power | GA | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | Dean Forest Substation | 32.0835 | -81.1887 | Little Ogeechee Substation | 32.0068 | -81.2532 | 32.0451 | -81.2209 | 2029-06-01 | 3 | DESC_23 | DESC_3 | DESC_10 | high | SAV | 21023
GPC_147 | Georgia Power | GA | SAV: RICE HOPE NEW AUTO TRANSFORMER | RICE HOPE | [7 empty] | 2029-06-01 | 0 |  |  |  | none | SAV | 20989 |  |  | no end point could be located
GPC_148 | Georgia Power | GA | SOUTH BAINBRIDGE - SINAI (FPL) 115KV LINE RECONDUCTOR | South Bainbridge Substation | 30.8396 | -84.4889 | Sinai Substation | 30.6638 | -84.9008 | 30.7517 | -84.6949 | 2029-06-01 | 0 |  |  |  | medium | GPC | 13628
GPC_149 | Georgia Power | GA | BAY CREEK - CONYERS 230KV REBUILD | Bay Creek Substation | 33.8681 | -83.8824 | CONYERS (unlabelled 230 kV substation, 2.5 mi from town) | 33.6977 | -84.0428 | 33.7829 | -83.9626 | 2029-12-31 | 0 |  |  |  | medium | GPC | 20248
GPC_150 | Georgia Power | GA | ANNISTON - HAMMOND 230KV LINE | ANNISTON |  |  | HAMMOND (unlabelled 230 kV substation, 0.8 mi from town) | 33.9234 | -84.3805 | 33.9234 | -84.3805 | 2030-06-01 | 0 |  |  |  | medium | GPC | 21129 |  |  | only one end point located; centre = that point
GPC_151 | Georgia Power | GA | ATKINSON - NORTHSIDE DRIVE 115KV REBUILD | Plant McDonough-Atkinson | 33.8255 | -84.4714 | NORTHSIDE DRIVE |  |  | 33.8255 | -84.4714 | 2030-06-01 | 0 |  |  |  | medium | GPC | 20764 |  |  | only one end point located; centre = that point
GPC_152 | Georgia Power | GA | ATKINSON - NORTHWEST 115KV REBUILD | Plant McDonough-Atkinson | 33.8255 | -84.4714 | NORTHWEST |  |  | 33.8255 | -84.4714 | 2030-06-01 | 0 |  |  |  | medium | GPC | 20761 |  |  | only one end point located; centre = that point
GPC_153 | Georgia Power | GA | CC - NORTH GEORGIA DATA NETWORK UPGRADES | NORTH GEORGIA DATA NETWORK UPGRADES | [7 empty] | 2030-06-01 | 0 |  |  |  | none | GPC | 21130 |  |  | no end point could be located
GPC_154 | Georgia Power | GA | CORNELIA - TALLULAH LODGE 115KV REBUILD | CORNELIA (unlabelled 115 kV substation, 0.8 mi from town) | 34.5052 | -83.5397 | TALLULAH LODGE |  |  | 34.5052 | -83.5397 | 2030-06-01 | 0 |  |  |  | medium | GPC | 10478 |  |  | only one end point located; centre = that point
GPC_156 | Georgia Power | GA | EAST POINT - TRIBUTARY 230KV REBUILD | East Point Primary Substation | 33.6763 | -84.463 | TRIBUTARY (unlabelled 230 kV substation, 1.7 mi from town) | 33.7288 | -84.6197 | 33.7026 | -84.5413 | 2030-06-01 | 0 |  |  |  | medium | GPC | 21097
GPC_157 | Georgia Power | GA | EAST POINT - UNION CITY 230KV BLACK LINE RECONDUCTOR | East Point Primary Substation | 33.6763 | -84.463 | Union Substation | 33.5532 | -84.5091 | 33.6148 | -84.486 | 2030-06-01 | 0 |  |  |  | medium | GPC | 20480
GPC_158 | Georgia Power | GA | ECHECONNEE-WELLSTON 115KV LINE REBUILD | ECHECONNEE (unlabelled 115 kV substation, 0.8 mi from town) | 32.676 | -83.708 | WELLSTON (unlabelled 115 kV substation, 1.0 mi from town) | 32.6228 | -83.5897 | 32.6494 | -83.6488 | 2030-06-01 | 0 |  |  |  | medium | GPC | 19627
GPC_159 | Georgia Power | GA | FARLEY (APC)-TAZEWELL 500KV | Farley Substation | 31.2236 | -85.1163 | TAZEWELL |  |  | 31.2236 | -85.1163 | 2030-06-01 | 0 |  |  |  | medium | GPC | 21063 |  |  | only one end point located; centre = that point
GPC_160 | Georgia Power | GA | GAINESVILLE #2 - MCEVER ROAD 115 KV REBUILD | Gainesville Substation #2 | 34.263 | -83.8097 | McEver Road Substation | 34.2729 | -83.8738 | 34.268 | -83.8417 | 2030-06-01 | 0 |  |  |  | high | GPC | 12120
GPC_161 | Georgia Power | GA | GLENWOOD SPRINGS - LAKE OCONEE 115KV LINE REBUILD | Glenwood Substation | 32.1857 | -82.6668 | Oconee Substation | 32.8529 | -82.9655 | 32.5193 | -82.8162 | 2030-06-01 | 0 |  |  |  | medium | GPC | 20298
GPC_162 | Georgia Power | GA | GOAT ROCK REACTORS INSTALLATION | Goat Rock Dam | 32.6096 | -85.0806 |  |  |  | 32.6096 | -85.0806 | 2030-06-01 | 0 |  |  |  | medium | GPC | 21128
GPC_163 | Georgia Power | GA | GOLDENS CREEK - WARRENTON PRIMARY 230KV REBUILD | GOLDENS CREEK |  |  | Warrenton Substation | 33.4064 | -82.6708 | 33.4064 | -82.6708 | 2030-06-01 | 0 |  |  |  | medium | GPC | 19996 |  |  | only one end point located; centre = that point
GPC_164 | Georgia Power | GA | GORDON-SANDERSVILLE #1 115KV LINE REBUILD (DEEPSTEP-SAND #6) | Gordon Substation | 32.8825 | -83.3169 | Sandersville Substation #1 | 32.9985 | -82.8019 | 32.9405 | -83.0594 | 2030-06-01 | 0 |  |  |  | high | GPC | 20428
GPC_165 | Georgia Power | GA | GOSHEN AREA STRATEGIC SOLUTION | Goshen Substation | 33.3198 | -81.9953 |  |  |  | 33.3198 | -81.9953 | 2030-06-01 | 4 | DESC_43 | DESC_35 | DESC_14 | high | GPC | 21116
GPC_174 | Georgia Power | GA | JEFFERSON ROAD - WINDER PRIMARY 115KV REBUILD | Jefferson Rd Substation | 33.9778 | -83.5795 | Winder Substation | 34.0235 | -83.7578 | 34.0007 | -83.6687 | 2030-06-01 | 0 |  |  |  | high | GPC | 20789
GPC_175 | Georgia Power | GA | KETTLE CREEK PRIMARY - PINE GROVE PRIMARY 115KV REBUILD | KETTLE CREEK PRIMARY |  |  | Pine Grove Primary Substation | 30.8816 | -83.228 | 30.8816 | -83.228 | 2030-06-01 | 0 |  |  |  | medium | GPC | 20284 |  |  | only one end point located; centre = that point
GPC_177 | Georgia Power | GA | NEW CAVENDER DRIVE - TRIBUTARY 230KV LINE | NEW CAVENDER DRIVE |  |  | TRIBUTARY 230KV LINE |  |  |  |  | 2030-06-01 | 0 |  |  |  | none | GPC | 20857 |  |  | no end point could be located
GPC_178 | Georgia Power | GA | NORTH SPA 230KV STRATEGIC PROJECT | NORTH SPA | [7 empty] | 2030-06-01 | 0 |  |  |  | none | GPC | 21093 |  |  | no end point could be located
GPC_179 | Georgia Power | GA | TALLULAH LODGE - TOCCOA 115 KV REBUILD | TALLULAH LODGE |  |  | Toccoa Primary Substation | 34.5809 | -83.3527 | 34.5809 | -83.3527 | 2030-06-01 | 0 |  |  |  | medium | GPC | 19995 |  |  | only one end point located; centre = that point
GPC_180 | Georgia Power | GA | TRIBUTARY - THORNTON RD 230KV REBUILD | TRIBUTARY (unlabelled 230 kV substation, 1.7 mi from town) | 33.7288 | -84.6197 | THORNTON RD |  |  | 33.7288 | -84.6197 | 2030-06-01 | 0 |  |  |  | medium | GPC | 21098 |  |  | only one end point located; centre = that point
GPC_181 | Georgia Power | GA | THOMASTON 230 NEW BUILD SUB | Thomaston #3 Substation | 32.9466 | -84.2665 |  |  |  | 32.9466 | -84.2665 | 2030-11-01 | 0 |  |  |  | medium | GPC | 20160
GPC_182 | Georgia Power | GA | BAINBRIDGE TRANSMISSION: EAST RIVER ROAD, EAST BAINBRIDGE | Bainbridge Substation | 30.9126 | -84.567 |  |  |  | 30.9126 | -84.567 | 2030-12-31 | 0 |  |  |  | medium | GPC | 18848
GPC_183 | Georgia Power | GA | GLENWOOD SPRINGS 115KV CAP BANK | Glenwood Substation | 32.1857 | -82.6668 |  |  |  | 32.1857 | -82.6668 | 2030-12-31 | 0 |  |  |  | medium | GPC | 19626
GPC_184 | Georgia Power | GA | EAST POINT - UNION CITY (WHITE) 230KV REBUILD | East Point Primary Substation | 33.6763 | -84.463 | Union Substation | 33.5532 | -84.5091 | 33.6148 | -84.486 | 2031-05-01 | 0 |  |  |  | medium | GPC | 20690
GPC_185 | Georgia Power | GA | AVERY - HOPEWELL 115KV RECONDUCTOR | Avery Substation | 34.217 | -84.3858 | Hopewell Substation | 34.1742 | -84.2834 | 34.1956 | -84.3346 | 2031-06-01 | 0 |  |  |  | high | GPC | 19632
GPC_186 | Georgia Power | GA | BOWEN #10 500/230KV AUTOBANK REPLACEMENT | Bowen Substation | 34.1216 | -84.9223 |  |  |  | 34.1216 | -84.9223 | 2031-06-01 | 0 |  |  |  | high | GPC | 10811
GPC_187 | Georgia Power | GA | HATCH - WADLEY 500 KV LINE STRATEGIC PROJECT | Hatch Nuclear Plant Substation | 31.9347 | -82.3477 | Wadley #4 Substation | 32.8086 | -82.3975 | 32.3716 | -82.3726 | 2031-06-01 | 0 |  |  |  | low | GPC | 20756 |  |  | end points 60 mi apart - probable name mismatch
GPC_190 | Georgia Power | GA | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | Coleman Substation | 32.0973 | -81.1161 | Meldrim Substation | 32.1553 | -81.3684 | 32.1263 | -81.2422 | 2032-06-01 | 3 | DESC_23 | DESC_3 | DESC_10 | high | SAV | 20784
GPC_191 | Georgia Power | GA | ARKWRIGHT BUS AND JUMPER REPLACEMENT | ARKWRIGHT BUS | [7 empty] | 2033-06-01 | 0 |  |  |  | none | GPC | 20767 |  |  | no end point could be located
GPC_192 | Georgia Power | GA | BAY CREEK - CONYERS 230KV LIMITING ELEMENT REPLACEMENT | Bay Creek Substation | 33.8681 | -83.8824 | CONYERS (unlabelled 230 kV substation, 2.5 mi from town) | 33.6977 | -84.0428 | 33.7829 | -83.9626 | 2033-06-01 | 0 |  |  |  | medium | GPC | 20758
GPC_193 | Georgia Power | GA | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | Evans Primary Substation | 33.544 | -82.1686 | Thurmond Substation | 33.6601 | -82.1959 | 33.6021 | -82.1823 | 2033-06-01 | 5 | DESC_31 | DESC_14 | DESC_15 | medium | GPC | 20793
GPC_194 | Georgia Power | GA | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | Evans Primary Substation | 33.544 | -82.1686 | Thurmond Substation | 33.6601 | -82.1959 | 33.6021 | -82.1823 | 2033-06-01 | 5 | DESC_31 | DESC_14 | DESC_15 | medium | GPC | 20794
GPC_200 | Georgia Power | GA | MCEVER ROAD - SHOAL CREEK 115KV REBUILD | McEver Road Substation | 34.2729 | -83.8738 | SHOAL CREEK (unlabelled 115 kV substation, 2.7 mi from town) | 33.847 | -83.6993 | 34.06 | -83.7865 | 2033-06-01 | 0 |  |  |  | medium | GPC | 21053
GPC_201 | Georgia Power | GA | MCGRAU FORD - MIDDLE FORK 500KV LINE PROJECT | McGrau Ford Substation | 34.3265 | -84.337 | MIDDLE FORK | 34.4225 | -83.3586 | 34.3745 | -83.8478 | 2033-06-01 | 0 |  |  |  | medium | GPC | 09661
GPC_202 | Georgia Power | GA | SAV: MELDRIM BANK D REPLACEMENT | Meldrim Substation | 32.1553 | -81.3684 |  |  |  | 32.1553 | -81.3684 | 2033-06-01 | 1 | DESC_23 |  |  | medium | SAV | 20796
GPC_203 | Georgia Power | GA | THOMSON PRIMARY 230/115KV SECOND TRANSFORMER | Thomson Substation | 33.4699 | -82.4948 |  |  |  | 33.4699 | -82.4948 | 2033-06-01 | 1 | DESC_31 |  |  | high | GPC | 14222
GPC_204 | Georgia Power | GA | WINDER PRIMARY 230KV BUS 1-2 PARALLEL BUS-TIE INSTALLATION | Winder Substation | 34.0235 | -83.7578 |  |  |  | 34.0235 | -83.7578 | 2033-06-01 | 0 |  |  |  | high | GPC | 20759
GPC_205 | Georgia Power | GA | PINE GROVE PRIMARY - WEST VALDOSTA 115 KV RECONDUCTOR | Pine Grove Primary Substation | 30.8816 | -83.228 | East Valdosta Substation | 30.8461 | -83.2543 | 30.8639 | -83.2412 | 2033-12-31 | 0 |  |  |  | high | GPC | 10487
GPC_206 | Georgia Power | GA | DAWSON CROSSING - GAINESVILLE #1 115 KV | Dawson Crossing Substation | 34.3781 | -84.1336 | Gainesville Substation #2 | 34.263 | -83.8097 | 34.3206 | -83.9716 | 2034-06-01 | 0 |  |  |  | high | GPC | 18700
GPC_207 | Georgia Power | GA | SAV: LITTLE OGEECHEE 230/115KV BANK REPLACEMENT | Little Ogeechee Substation | 32.0068 | -81.2532 |  |  |  | 32.0068 | -81.2532 | 2034-06-01 | 0 |  |  |  | high | SAV | 20787
GPC_208 | Georgia Power | GA | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | Evans Primary Substation | 33.544 | -82.1686 | Thomson Substation | 33.4699 | -82.4948 | 33.5069 | -82.3317 | 2034-12-31 | 4 | DESC_31 | DESC_14 | DESC_15 | high | GPC | 17993

## overlaps
overlap_id | distance_mi | time_gap (day) | utility_a | project_id_a | project_name_a | utility_b | project_id_b | project_name_b | rank | score | confidence | sponsor_b | in_service_a | in_service_b | coordination_type | min_separation_mi | shared_corridor_mi | schedule_fit | acres_saved | est_savings_low_usd | est_savings_high_usd | why
OVL_1 | 5.65 | 152 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_12 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 1 | 0.817 | medium | SAV | 2025-12-31 | 2026-06-01 | site | 3 | 0 | 0.86 | 0 | 256000 | 615000 | 5.7 mi apart; in service 152 days apart; work in the same substation area (end points 3.0 mi apart)
OVL_2 | 7.36 | 517 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_97 | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | 2 | 0.709 | medium | SAV | 2025-12-31 | 2027-06-01 | site | 3 | 0 | 0.53 | 0 | 157000 | 377000 | 7.4 mi apart; in service 517 days apart (~1.4 yr); work in the same substation area (end points 3.0 mi apart)
OVL_3 | 3.5 | 578 | Dominion Energy South Carolina | DESC_43 | Urquhart - Aiken PSA 46 kV: Rebuild | Georgia Power | GPC_45 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 3 | 0.807 | low | GPC | 2027-12-31 | 2026-06-01 | site | 2.4 | 0 | 0.47 | 0 | 18000 | 42000 | 3.5 mi apart; in service 578 days apart (~1.6 yr); work in the same substation area (end points 2.4 mi apart)
OVL_4 | 9.29 | 883 | Dominion Energy South Carolina | DESC_43 | Urquhart - Aiken PSA 46 kV: Rebuild | Georgia Power | GPC_165 | GOSHEN AREA STRATEGIC SOLUTION | 4 | 0.595 | medium | GPC | 2027-12-31 | 2030-06-01 | nearby | 9.3 | 0 | 0.19 | 0 |  |  | 9.3 mi apart; in service 883 days apart (~2.4 yr)
OVL_5 | 4.09 | 3074 | Dominion Energy South Carolina | DESC_31 | Hooks - Thurmond 115kV Tie: Rebuild | Georgia Power | GPC_193 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 5 | 0.586 | medium | GPC | 2024-12-31 | 2033-06-01 | site | 0 | 0 | 0 | 0 | 0 | 0 | 4.1 mi apart; in service 3074 days apart (~8.4 yr); work in the same substation area (end points 0.0 mi apart)
OVL_6 | 4.09 | 3074 | Dominion Energy South Carolina | DESC_31 | Hooks - Thurmond 115kV Tie: Rebuild | Georgia Power | GPC_194 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 6 | 0.586 | medium | GPC | 2024-12-31 | 2033-06-01 | site | 0 | 0 | 0 | 0 | 0 | 0 | 4.1 mi apart; in service 3074 days apart (~8.4 yr); work in the same substation area (end points 0.0 mi apart)
OVL_7 | 11.75 | 517 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_96 | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | 7 | 0.586 | medium | SAV | 2025-12-31 | 2027-06-01 | nearby | 9.1 | 0 | 0.53 | 0 |  |  | 11.8 mi apart; in service 517 days apart (~1.4 yr)
OVL_8 | 8.66 | 152 | Dominion Energy South Carolina | DESC_15 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | Georgia Power | GPC_45 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 8 | 0.733 | low | GPC | 2025-12-31 | 2026-06-01 | nearby | 7.6 | 0 | 0.86 | 0 |  |  | 8.7 mi apart; in service 152 days apart
OVL_9 | 9.67 | 72 | Dominion Energy South Carolina | DESC_35 | Urquhart - Toolebeck 115kV line: Rebuild | Georgia Power | GPC_45 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 9 | 0.717 | low | GPC | 2026-08-12 | 2026-06-01 | corridor | 2.4 | 0.6 | 0.93 | 0 | 34000 | 82000 | 9.7 mi apart; in service 72 days apart; corridors run together for ~1 mi
OVL_10 | 8.66 | 517 | Dominion Energy South Carolina | DESC_14 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | Georgia Power | GPC_45 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 10 | 0.673 | low | GPC | 2024-12-31 | 2026-06-01 | nearby | 7.6 | 0 | 0.53 | 0 |  |  | 8.7 mi apart; in service 517 days apart (~1.4 yr)
OVL_11 | 17.56 | 0 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_29 | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | 11 | 0.508 | medium | SAV | 2025-06-01 | 2025-06-01 | nearby | 15.5 | 0 | 1 | 0 |  |  | 17.6 mi apart; same in-service month
OVL_12 | 15.1 | 517 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_12 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 12 | 0.492 | medium | SAV | 2024-12-31 | 2026-06-01 | nearby | 15.1 | 0 | 0.53 | 0 |  |  | 15.1 mi apart; in service 517 days apart (~1.4 yr)
OVL_13 | 17.37 | 152 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_29 | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | 13 | 0.489 | medium | SAV | 2024-12-31 | 2025-06-01 | nearby | 15.5 | 0 | 0.86 | 0 |  |  | 17.4 mi apart; in service 152 days apart
OVL_14 | 8.01 | 3074 | Dominion Energy South Carolina | DESC_14 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | Georgia Power | GPC_193 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 14 | 0.476 | medium | GPC | 2024-12-31 | 2033-06-01 | nearby | 6.9 | 0 | 0 | 0 |  |  | 8.0 mi apart; in service 3074 days apart (~8.4 yr)
OVL_15 | 8.01 | 3074 | Dominion Energy South Carolina | DESC_14 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | Georgia Power | GPC_194 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 15 | 0.476 | medium | GPC | 2024-12-31 | 2033-06-01 | nearby | 6.9 | 0 | 0 | 0 |  |  | 8.0 mi apart; in service 3074 days apart (~8.4 yr)
OVL_16 | 8.01 | 2709 | Dominion Energy South Carolina | DESC_15 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | Georgia Power | GPC_193 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 16 | 0.476 | medium | GPC | 2025-12-31 | 2033-06-01 | nearby | 6.9 | 0 | 0 | 0 |  |  | 8.0 mi apart; in service 2709 days apart (~7.4 yr)
OVL_17 | 8.01 | 2709 | Dominion Energy South Carolina | DESC_15 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | Georgia Power | GPC_194 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 17 | 0.476 | medium | GPC | 2025-12-31 | 2033-06-01 | nearby | 6.9 | 0 | 0 | 0 |  |  | 8.0 mi apart; in service 2709 days apart (~7.4 yr)
OVL_18 | 17.78 | 365 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_12 | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 18 | 0.442 | medium | SAV | 2025-06-01 | 2026-06-01 | nearby | 15.1 | 0 | 0.67 | 0 |  |  | 17.8 mi apart; in service 365 days apart
OVL_19 | 15 | 882 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_96 | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | 19 | 0.435 | medium | SAV | 2024-12-31 | 2027-06-01 | nearby | 14.8 | 0 | 0.19 | 0 |  |  | 15.0 mi apart; in service 882 days apart (~2.4 yr)
OVL_20 | 18.1 | 365 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_61 | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | 20 | 0.433 | medium | SAV | 2025-06-01 | 2026-06-01 | nearby | 15.5 | 0 | 0.67 | 0 |  |  | 18.1 mi apart; in service 365 days apart
OVL_21 | 15.15 | 882 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_97 | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | 21 | 0.431 | medium | SAV | 2024-12-31 | 2027-06-01 | nearby | 15 | 0 | 0.19 | 0 |  |  | 15.2 mi apart; in service 882 days apart (~2.4 yr)
OVL_22 | 17.64 | 517 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_61 | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | 22 | 0.421 | medium | SAV | 2024-12-31 | 2026-06-01 | nearby | 15.5 | 0 | 0.53 | 0 |  |  | 17.6 mi apart; in service 517 days apart (~1.4 yr)
OVL_23 | 20.23 | 152 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_61 | SAV: BOULEVARD - DEPTFORD 115KV RECONDUCTOR | 23 | 0.409 | medium | SAV | 2025-12-31 | 2026-06-01 | nearby | 18.5 | 0 | 0.86 | 0 |  |  | 20.2 mi apart; in service 152 days apart
OVL_24 | 16.98 | 730 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_96 | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | 24 | 0.405 | medium | SAV | 2025-06-01 | 2027-06-01 | nearby | 14.8 | 0 | 0.33 | 0 |  |  | 17.0 mi apart; in service 730 days apart (~2.0 yr)
OVL_25 | 17.71 | 730 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_97 | SAV: GOSHEN (SAV) - MCINTOSH 115KV LINE REBUILD | 25 | 0.384 | medium | SAV | 2025-06-01 | 2027-06-01 | nearby | 15 | 0 | 0.33 | 0 |  |  | 17.7 mi apart; in service 730 days apart (~2.0 yr)
OVL_26 | 20.86 | 213 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_29 | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | 26 | 0.381 | medium | SAV | 2025-12-31 | 2025-06-01 | nearby | 18.5 | 0 | 0.81 | 0 |  |  | 20.9 mi apart; in service 213 days apart
OVL_27 | 16.43 | 1389 | Dominion Energy South Carolina | DESC_35 | Urquhart - Toolebeck 115kV line: Rebuild | Georgia Power | GPC_165 | GOSHEN AREA STRATEGIC SOLUTION | 27 | 0.312 | high | GPC | 2026-08-12 | 2030-06-01 | nearby | 9.3 | 0 | 0 | 0 |  |  | 16.4 mi apart; in service 1389 days apart (~3.8 yr)
OVL_28 | 18.21 | 883 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_117 | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | 28 | 0.345 | medium | SAV | 2025-12-31 | 2028-06-01 | nearby | 17 | 0 | 0.19 | 0 |  |  | 18.2 mi apart; in service 883 days apart (~2.4 yr)
OVL_29 | 13.16 | 3652 | Dominion Energy South Carolina | DESC_31 | Hooks - Thurmond 115kV Tie: Rebuild | Georgia Power | GPC_208 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 29 | 0.332 | medium | GPC | 2024-12-31 | 2034-12-31 | nearby | 8.2 | 0 | 0 | 0 |  |  | 13.2 mi apart; in service 3652 days apart (~10.0 yr)
OVL_30 | 17.75 | 1248 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_117 | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | 30 | 0.298 | medium | SAV | 2024-12-31 | 2028-06-01 | nearby | 15.9 | 0 | 0 | 0 |  |  | 17.8 mi apart; in service 1248 days apart (~3.4 yr)
OVL_31 | 18.79 | 1096 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_117 | SAV: COLEMAN - DEAN FOREST 115KV LINE REBUILD | 31 | 0.294 | medium | SAV | 2025-06-01 | 2028-06-01 | nearby | 15.9 | 0 | 0 | 0 |  |  | 18.8 mi apart; in service 1096 days apart (~3.0 yr)
OVL_32 | 19.27 | 517 | Dominion Energy South Carolina | DESC_31 | Hooks - Thurmond 115kV Tie: Rebuild | Georgia Power | GPC_45 | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 32 | 0.376 | low | GPC | 2024-12-31 | 2026-06-01 | nearby | 18.2 | 0 | 0.53 | 0 |  |  | 19.3 mi apart; in service 517 days apart (~1.4 yr)
OVL_33 | 19.44 | 1096 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_118 | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | 33 | 0.275 | medium | SAV | 2025-06-01 | 2028-06-01 | nearby | 19.2 | 0 | 0 | 0 |  |  | 19.4 mi apart; in service 1096 days apart (~3.0 yr)
OVL_34 | 17.09 | 1613 | Dominion Energy South Carolina | DESC_15 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | Georgia Power | GPC_165 | GOSHEN AREA STRATEGIC SOLUTION | 34 | 0.256 | medium | GPC | 2025-12-31 | 2030-06-01 | nearby | 17.1 | 0 | 0 | 0 |  |  | 17.1 mi apart; in service 1613 days apart (~4.4 yr)
OVL_35 | 19.23 | 1248 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_118 | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | 35 | 0.256 | medium | SAV | 2024-12-31 | 2028-06-01 | nearby | 19.2 | 0 | 0 | 0 |  |  | 19.2 mi apart; in service 1248 days apart (~3.4 yr)
OVL_36 | 16.6 | 3652 | Dominion Energy South Carolina | DESC_14 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | Georgia Power | GPC_208 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 36 | 0.235 | medium | GPC | 2024-12-31 | 2034-12-31 | nearby | 6.9 | 0 | 0 | 0 |  |  | 16.6 mi apart; in service 3652 days apart (~10.0 yr)
OVL_37 | 16.6 | 3287 | Dominion Energy South Carolina | DESC_15 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV | Georgia Power | GPC_208 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 37 | 0.235 | medium | GPC | 2025-12-31 | 2034-12-31 | nearby | 6.9 | 0 | 0 | 0 |  |  | 16.6 mi apart; in service 3287 days apart (~9.0 yr)
OVL_38 | 22.37 | 883 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_118 | SAV: MAGNOLIA - TRUMAN PARKWAY 115KV REBUILD | 38 | 0.228 | medium | SAV | 2025-12-31 | 2028-06-01 | nearby | 21.7 | 0 | 0.19 | 0 |  |  | 22.4 mi apart; in service 883 days apart (~2.4 yr)
OVL_39 | 17.09 | 1978 | Dominion Energy South Carolina | DESC_14 | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | Georgia Power | GPC_165 | GOSHEN AREA STRATEGIC SOLUTION | 39 | 0.222 | medium | GPC | 2024-12-31 | 2030-06-01 | nearby | 17.1 | 0 | 0 | 0 |  |  | 17.1 mi apart; in service 1978 days apart (~5.4 yr)
OVL_40 | 19.98 | 1461 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_145 | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | 40 | 0.2 | medium | SAV | 2025-06-01 | 2029-06-01 | nearby | 19.2 | 0 | 0 | 0 |  |  | 20.0 mi apart; in service 1461 days apart (~4.0 yr)
OVL_41 | 17.97 | 2344 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_190 | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | 41 | 0.197 | medium | SAV | 2025-12-31 | 2032-06-01 | nearby | 17 | 0 | 0 | 0 |  |  | 18.0 mi apart; in service 2344 days apart (~6.4 yr)
OVL_42 | 19.53 | 1613 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_145 | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | 42 | 0.188 | medium | SAV | 2024-12-31 | 2029-06-01 | nearby | 19.2 | 0 | 0 | 0 |  |  | 19.5 mi apart; in service 1613 days apart (~4.4 yr)
OVL_43 | 21.83 | 1248 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_145 | SAV: BOULEVARD - MAGNOLIA 115 KV LINE REBUILD | 43 | 0.183 | medium | SAV | 2025-12-31 | 2029-06-01 | nearby | 21.2 | 0 | 0 | 0 |  |  | 21.8 mi apart; in service 1248 days apart (~3.4 yr)
OVL_44 | 22.42 | 1248 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_146 | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | 44 | 0.167 | medium | SAV | 2025-12-31 | 2029-06-01 | nearby | 19.3 | 0 | 0 | 0 |  |  | 22.4 mi apart; in service 1248 days apart (~3.4 yr)
OVL_45 | 19.58 | 1979 | Dominion Energy South Carolina | DESC_43 | Urquhart - Aiken PSA 46 kV: Rebuild | Georgia Power | GPC_193 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 45 | 0.152 | medium | GPC | 2027-12-31 | 2033-06-01 | nearby | 16.8 | 0 | 0 | 0 |  |  | 19.6 mi apart; in service 1979 days apart (~5.4 yr)
OVL_46 | 19.58 | 1979 | Dominion Energy South Carolina | DESC_43 | Urquhart - Aiken PSA 46 kV: Rebuild | Georgia Power | GPC_194 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 46 | 0.152 | medium | GPC | 2027-12-31 | 2033-06-01 | nearby | 16.8 | 0 | 0 | 0 |  |  | 19.6 mi apart; in service 1979 days apart (~5.4 yr)
OVL_47 | 20.5 | 2709 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_190 | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | 47 | 0.126 | medium | SAV | 2024-12-31 | 2032-06-01 | nearby | 15.9 | 0 | 0 | 0 |  |  | 20.5 mi apart; in service 2709 days apart (~7.4 yr)
OVL_48 | 21.47 | 2709 | Dominion Energy South Carolina | DESC_23 | Jasper - Okatie 230 kV #2: Construct | Georgia Power | GPC_202 | SAV: MELDRIM BANK D REPLACEMENT | 48 | 0.099 | medium | SAV | 2025-12-31 | 2033-06-01 | nearby | 20 | 0 | 0 | 0 |  |  | 21.5 mi apart; in service 2709 days apart (~7.4 yr)
OVL_49 | 22.81 | 1613 | Dominion Energy South Carolina | DESC_3 | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | Georgia Power | GPC_146 | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | 49 | 0.096 | medium | SAV | 2024-12-31 | 2029-06-01 | nearby | 19.6 | 0 | 0 | 0 |  |  | 22.8 mi apart; in service 1613 days apart (~4.4 yr)
OVL_50 | 21.66 | 3074 | Dominion Energy South Carolina | DESC_31 | Hooks - Thurmond 115kV Tie: Rebuild | Georgia Power | GPC_203 | THOMSON PRIMARY 230/115KV SECOND TRANSFORMER | 50 | 0.094 | medium | GPC | 2024-12-31 | 2033-06-01 | nearby | 21.7 | 0 | 0 | 0 |  |  | 21.7 mi apart; in service 3074 days apart (~8.4 yr)
OVL_51 | 23.88 | 1461 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_146 | SAV: DEAN FOREST - LITTLE OGEECHEE 230 KV REBUILD | 51 | 0.091 | medium | SAV | 2025-06-01 | 2029-06-01 | nearby | 19.6 | 0 | 0 | 0 |  |  | 23.9 mi apart; in service 1461 days apart (~4.0 yr)
OVL_52 | 22.13 | 2557 | Dominion Energy South Carolina | DESC_10 | Okatie-Bluffton 115kV: Rebuild | Georgia Power | GPC_190 | SAV: COLEMAN - MELDRIM 115KV LINE REBUILD | 52 | 0.08 | medium | SAV | 2025-06-01 | 2032-06-01 | nearby | 15.9 | 0 | 0 | 0 |  |  | 22.1 mi apart; in service 2557 days apart (~7.0 yr)
OVL_53 | 24.06 | 2485 | Dominion Energy South Carolina | DESC_35 | Urquhart - Toolebeck 115kV line: Rebuild | Georgia Power | GPC_193 | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 53 | 0.026 | medium | GPC | 2026-08-12 | 2033-06-01 | nearby | 16.8 | 0 | 0 | 0 |  |  | 24.1 mi apart; in service 2485 days apart (~6.8 yr)
OVL_54 | 24.06 | 2485 | Dominion Energy South Carolina | DESC_35 | Urquhart - Toolebeck 115kV line: Rebuild | Georgia Power | GPC_194 | EVANS PRIMARY - THURMOND DAM (USA) #6 115KV REBUILD | 54 | 0.026 | medium | GPC | 2026-08-12 | 2033-06-01 | nearby | 16.8 | 0 | 0 | 0 |  |  | 24.1 mi apart; in service 2485 days apart (~6.8 yr)
OVL_55 | 24.88 | 2557 | Dominion Energy South Carolina | DESC_43 | Urquhart - Aiken PSA 46 kV: Rebuild | Georgia Power | GPC_208 | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 55 | 0.003 | medium | GPC | 2027-12-31 | 2034-12-31 | nearby | 16.8 | 0 | 0 | 0 |  |  | 24.9 mi apart; in service 2557 days apart (~7.0 yr)

## top_opportunities
opportunity_rank | overlap_id | distance_mi | time_gap (day) | confidence | project_name_a | project_name_b | why | coordination_type | est_savings_low_usd | est_savings_high_usd | same_corridor_projects | other_nearby_pairs | other_nearby_examples
1 | OVL_1 | 5.65 | 152 | medium | Jasper - Okatie 230 kV #2: Construct | SAV: MCINTOSH - PURRYSBURG 230KV REACTORS | 5.7 mi apart; in service 152 days apart; work in the same substation area (end points 3.0 mi apart) | site | 256000 | 615000 |  | 12 | DESC_23~GPC_97 (7.4 mi); DESC_23~GPC_96 (11.8 mi); DESC_3~GPC_12 (15.1 mi); DESC_10~GPC_12 (17.8 mi)
2 | OVL_3 | 3.5 | 578 | low | Urquhart - Aiken PSA 46 kV: Rebuild | FENWICK STREET - SAND BAR FERRY 115KV (RECONDUCTOR/REBUILD) | 3.5 mi apart; in service 578 days apart (~1.6 yr); work in the same substation area (end points 2.4 mi apart) | site | 18000 | 42000 |  | 8 | DESC_43~GPC_165 (9.3 mi); DESC_15~GPC_45 (8.7 mi); DESC_35~GPC_45 (9.7 mi); DESC_14~GPC_45 (8.7 mi)
3 | OVL_5 | 4.09 | 3074 | medium | Hooks - Thurmond 115kV Tie: Rebuild | EVANS PRIMARY - THURMOND DAM (USA) #5 115KV REBUILD | 4.1 mi apart; in service 3074 days apart (~8.4 yr); work in the same substation area (end points 0.0 mi apart) | site | 0 | 0 | GPC_194 | 11 | DESC_14~GPC_193 (8.0 mi); DESC_14~GPC_194 (8.0 mi); DESC_15~GPC_193 (8.0 mi); DESC_15~GPC_194 (8.0 mi)
4 | OVL_11 | 17.56 | 0 | medium | Okatie-Bluffton 115kV: Rebuild | SAV: DEPTFORD - MAGNOLIA 115KV RECONDUCTOR | 17.6 mi apart; same in-service month | nearby |  |  |  | 11 | DESC_3~GPC_29 (17.4 mi); DESC_10~GPC_12 (17.8 mi); DESC_10~GPC_61 (18.1 mi); DESC_10~GPC_96 (17.0 mi)
5 | OVL_19 | 15 | 882 | medium | Okatie 230-115kV Substation, Jasper - Yemassee 230kV #1 Fold-in | SAV: GOSHEN (SAV) - KRAFT 115KV LINE REBUILD | 15.0 mi apart; in service 882 days apart (~2.4 yr) | nearby |  |  |  | 11 | DESC_23~GPC_96 (11.8 mi); DESC_3~GPC_12 (15.1 mi); DESC_3~GPC_29 (17.4 mi); DESC_3~GPC_97 (15.2 mi)
6 | OVL_27 | 16.43 | 1389 | high | Urquhart - Toolebeck 115kV line: Rebuild | GOSHEN AREA STRATEGIC SOLUTION | 16.4 mi apart; in service 1389 days apart (~3.8 yr) | nearby |  |  |  | 6 | DESC_43~GPC_165 (9.3 mi); DESC_35~GPC_45 (9.7 mi); DESC_15~GPC_165 (17.1 mi); DESC_14~GPC_165 (17.1 mi)
7 | OVL_36 | 16.6 | 3652 | medium | Stevens Creek - Hooks 115kV/LR Plumb Branch 46kV Rebuilds | EVANS PRIMARY - THOMSON PRIMARY 115KV REBUILD | 16.6 mi apart; in service 3652 days apart (~10.0 yr) | nearby |  |  | DESC_15 | 10 | DESC_15~GPC_45 (8.7 mi); DESC_14~GPC_45 (8.7 mi); DESC_14~GPC_193 (8.0 mi); DESC_14~GPC_194 (8.0 mi)

## assumptions
assumption | value
Right-of-way width (ft) by voltage | 46 kV = 60, 69 kV = 60, 115 kV = 75, 138 kV = 85, 161 kV = 100, 230 kV = 125, 500 kV = 175
Second line beside an existing one | adds 35% of its own width
Corridor 'shared' when lines are within | 3.0 mi along their length
Cost avoided by joint delivery | 5% (low) - 12% (high) of the Dominion construction cost on the shared stretch; Georgia costs are REDACTED in the IRP
Shared site | an end point of each project within 3.5 mi; 25% of the Dominion project cost is treated as tied to the shared terminal
Schedule fit | savings scale linearly to zero as the in-service gap grows to 1095 days
Land savings counted only when | at least one project is a new-build (a rebuild reuses its own corridor)
Line geometry | straight segment between the two named substations (actual routes are longer)
Overlap rule | haversine distance between project centres < 25 mi; centre = midpoint of the two located end points
Top opportunities | duplicates removed: sibling projects (same utility, identical end points and location) are merged into one corridor and each corridor appears in at most one opportunity, best pair first; the other nearby pairs are counted in other_nearby_pairs. The overlaps sheet keeps every pair.
Georgia side | Georgia Power (GPC, SAV) projects; GTC / MEAG / DU ITS-partner projects are left out (none overlap a Dominion project)